Annex 3.

II.B.1. Safety Checklist

The purpose of a safety and security checklist is to:

a)	maintain a safe and comfortable environment for the Health

Department employees and clients.

b) 	to reduce the possibility of vital health records being damaged 	or destroyed.

In keeping with this purpose, the Health Department’s designated Safety Officer will ensure that the following checklist is monitored, updated, and followed.

**************************************************

1.  Keep all exits, aisles, corridors and stairwells unobstructed.

Ensure that no boxes, cords, wires or other tripping hazards are

present around doors or aisles.

2.  Ensure that all emergency equipment (fire extinguishers, fire

alarms, sprinkler systems, first aid kits, rescue equipment,

flashlights, batteries, face masks, and emergency

supplies) is always accessible and in good working order.  Do

not under any circumstances, place furniture, storage boxes,

coat racks, etc in front of the fire extinguisher, or manual box

alarm system.  Ensure that fire extinguishers are of the

appropriate type for the materials available in that location.

3.  Close drawers and doors of storage and file cabinets when not in

use.

4.  Maintain a stable environment within the Health Department	office

including temperature and humidity and make sure that air

circulation is adequate.

5.  Have electrical outlets, fixtures, and equipment checked

periodically by an electrician.

6.  Store all office vital records that are not computerized in a fire

proof cabinet.

7.  Do not allow any smoking in the building and lighting of candles

should be strongly discouraged.

8.  Store flammable and combustible materials in a safe, cool place

out of sunlight, such as inside a cabinet.  Store these materials

in well-marked containers.  Do not store large containers on

high shelves from which they may fall and break.  Keep all

chemical, cleaning fluid, and solvent containers closed, even

when in use, to minimize the escape of flammable and toxic

vapors into the air.

9.  Ensure that there are no exposed wires on any equipment

(centrifuge, vacuum, etc).

10. Ensure that all electrical appliances (coffee pots, etc) are

operated at a safe distance from flammable materials, and that

they are turned off when not in use.

11. Use only non-flammable paints within the office.  Older, oil-based

paints are highly flammable and some latex and acrylic paints

will also burn.  Take care to ensure that freshly painted areas

are well-ventilated since wet paint gives off highly flammable

fumes.

12. Heating, ventilation, and air conditioning (HVAC) systems should

be maintained, inspected, and tested in accordance with

established safety practices.  Heaters and ductwork should be

kept free of combustible deposits.  Such systems could spread

fire throughout a building if not constructed with appropriate

safeguards.

13. Ensure that ducts are made of metal and automatic fire dampers

are recommended on them.  Clean ducts and vents regularly

since they gather dust and other combustible material which

could ignite.

14. Use non-flammable carpeting within the office.  The safest is wool

fiber with hessian backing.

15. Never let water run unattended.

16. Portable heaters and small heat generating appliances should not

be used at the Health Department.

17. Avoid storage of Health Department papers or records in or below

areas through which service pipes pass.

18. Holiday decorations should always be made from fire-retardant

material and should be placed well away from sources of heat

such as light fixtures or heating vents.

19. Plumbing, service pipes, water heaters, and all drains should be

checked periodically for leaks.

20. Inspect the ceiling and roof periodically for leaks (especially flat

roofs).

21. Frequent inspections are made by the designated Health

Department safety officer to detect unsafe conditions and to

impress upon the staff the importance of good housekeeping.

II.B.2. Security Checklist

The Health Department’s designated Safety Officer will ensure that the following checklist is monitored, updated, and followed.

1.  Clearly make staff only areas that are closed to the public.

2.  Be aware that terminated employees may pose security risks.

Ensure that the employee, before leaving, turns in any Health

Department property and keys.

3.  Keep track of all keys, especially duplicate copies and master

keys.

4.  Ensure that medical inventory (sharps, medications, etc) is

periodically checked to determine any missing items.

5.  Ensure that all outside windows, doors, and other entry points are secure.

6.  Ensure that all locks are in working order.

7.  Ensure that the exterior of the Health Department is well lit at

night.

8.  Establish procedures that will be followed in the event of theft,

vandalism, and violence prone persons and verbal threats.